- TC65/WG6 Responses to Collated Comments

| Date | Document |
| --- | --- |
| 2003-06-16 | IEC TR 61499-3/Ed1 IEC 65/308/DTR |

| National Committee |  | Clause/ Subclause | Paragraph Figure/ Table | Type of comment (General/ Technical/Editorial) | COMMENTS |  | Proposed change | OBSERVATIONS OF THE SECRETARIAT on each comment submitted |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DE 1 |  | 1.1 | bullet "Part 1" | Editorial | Compliance requirements are no longer defined in Part 1. |  | Delete the last sub-bullet. | Accepted. |  |
| RU |  | 2.1 | Lines 2 and 3 | Editorial |  |  | Change the word “Annex” by the word “clause” | Accepted. |  |
| DE 2 |  | 2.1 | 3rd question | Technical | Answer to question "Is IEC 61499 a stand-alone standard" is not complete enough. |  | The answer should explicitely mention the need for communication standards/protocols (even if this need is expressed in Part 4). | Accepted. |  |
| DE 3 |  | 2.2 | 4th paragraph | Editorial | The reference to trial implementations adds minimal information only. |  | Delete the paragraph. | Accepted. |  |
| JP 1 |  | 2.3 | 2nd paragraph | Editorial | Instances of this type may be combined with with other function |  | Instances of this type may be combined with other function | Accepted. |  |
| DE 4 |  | 2.3 | 3rd paragraph | Editorial | The reference to Annex C.3 is obsolete. |  | Delete the paragraph. | Accepted. |  |
| DE 5 |  | 2.3 | next to the last question | Editorial | 1st paragraph: Reference not qualified. |  | Replace 'Annex J' by 'Annex J of IEC 61499-1'. Regard the possible renaming of annexes in Part 1. | Accepted. Annex J is now Annex H. |  |
| DE 6 |  | 2.3 | next to the last question | Editorial | 2nd paragraph: The reference to Annex C is obsolete. |  | Delete the paragraph. | Accepted. |  |
| DE 7 |  | 2.4 | 1st question | Editorial | Paragraph labeled 5: For real control scenarios, a formal validation will not be possible due to the huge proliferation of system states. |  | Emphasize simulation only and delete the reference to formal validation. | Accepted. |  |
| DE 8 |  | 2.4 | 7th question | Editorial | The discussion of the WITH construct will change. |  | The answer to the question has to be completely reworded according to the planned modifications to be made in Pt 1. | Accepted. |  |
| DE 9 |  | 2.5 | 1st question | Editorial | Paragraphs labeled 4, 5 and 7: Tool support not mentioned. |  | These paragraphs should emphasize, that the necessary actions have to be highly supported and facilitated by tool capabilities, especially the creation of communication SIFBs. | Accepted. |  |
| DE 10 |  | 3 | NOTE | Editorial | The references to Annexes B and C are obsolete. |  | Delete NOTE or add referenced information at an appropriate location. | Accepted. |  |
| DE 11 |  | - 3.1.6 | 1st sentence | Editorial | The references '10 and 9' are unclear. |  | Insert the correct references. | Accepted. |  |
| DE 12 |  | 3.2 | 1st sentence | Editorial | Excess wording and incorrect reference. |  | Delete 'shows' and replace 'Annex' by 'subclause'. | Accepted. |  |
| JP 2 |  | 3.2 | 1st paragraph | Editorial | Annex 3.1 |  | 3.1 | Accepted. |  |
| JP 3 |  | 3.2 | 3rd and 5th paragraph | Editorial | Part2 |  | Part1 | Reference is changed to IEC 61499-2 where software tools are described. |  |
| DE 13 |  | 3.2 | NOTE | Editorial | The reference to Annex B is obsolete. |  | Delete NOTE or add referenced information at an appropriate location. | Add appropriate reference to Annex C. |  |
| JP 4 |  | 3.2 | NOTE | Editorial | Annex B |  | Annex B of IEC 61499-1 | See response to DE 13. |  |
| JP 5 |  | 3.2 |  | Editorial | Inconsistency of “TC” and “T3” |  |  | "T3" changed to "TC" throughout. |  |
| DE 14 |  | 3.5.1 | NOTE | Editorial | The references to Annexes B and C are obsolete. |  | Delete NOTE or add referenced information at an appropriate location. | Accepted. |  |
| DE 15 |  | 3.5.1 | paragraph behind NOTE | Editorial | Incorrect references to figure. |  | Replace '17 a)' by '18 a)' and '17(b)' by '18 b)'. | Accepted. |  |
| DE 16 |  | 3.5.2 | whole subclause | Technical | The value of introducing a unidirectional MSG adapter type is not so obvious. |  | An example for a bidirectional MSG adapter type (request/response pair = RPC capability) would be more impressive. | Accepted. |  |
| DE 17 |  | 3.6 | 1st sentence | Technical | Incorrect reference to subclause. |  | Insert the correct reference. | Accepted. |  |
| DE 18 |  | 4 | whole clause | Technical | As a consequence of the rewording of subclause 2.2 of Part 1, the content of this clause may become obsolete. |  | To be discussed - depends on changes in Part 1. | Accepted. See USA comment below. |  |
| USA | 4 |  | All | Technical | Many of the issues raised in this clause are now moot due to changes in 61499-1. | REPLACE this clause with the revised contents appended to these comments. |  |  | Accepted. |
| JP 6 |  | 4.1 |  | General | This subclause will probably confuse readers. |  | The points to notice for users should be explained. | See response to USA comment. |  |

## ANNEX

## 4  State chart implementation with ECCs

The implementation of state-machine control via ECCs can be simpler than more general-purpose state-machine models. For instance, the state chart shown in Figure 23 for (simplified) control of a hypothetical Video Cassette Recorder (VCR) motor contains the following features not included in the ECC construct:

- a "superstate" RUNNING containing two "substates" FWD and REV;

- a "history" node to which return can be made from an external state; for instance, if the RUN state is active upon the occurrence of a PAUSE event, the RUN state will be re-activated upon return from the PAUSE state in response to a RESUME event.

- Figure 1 - State machine for hypothetical VCR motor control

It is important to note that the state machine notation in Figure 23 is a design notation, whereas the ECC is an implementation notation.  Figure 24 presents the interface and ECC of a basic function block implementing the VCR motor control whose design is expressed in Figure 23.  The ECC retains the same states as the original statechart and uses an internal variable WAS_FWD to save the state of the motor while pausing. This saved state is then used to restore the proper motor state when resuming operation.  The declarations used to effect this functionality are:

VAR

WAS_FWD : BOOL; (* Motor State History *)

END_VAR

ALGORITHM STOP IN ST :

MTR_FWD:=FALSE;

MTR_REV:=FALSE;

END_ALGORITHM

ALGORITHM FWD_M IN ST :

WAS_FWD:=TRUE;

END_ALGORITHM

ALGORITHM REV_M IN ST :

WAS_FWD:=FALSE;

END_ALGORITHM

ALGORITHM RUN IN ST :

MTR_FWD:=WAS_FWD;

MTR_REV:=NOT WAS_FWD;

END_ALGORITHM

| Interface | ECC |
| --- | --- |

Figure 2 - Basic function block implementation of state chart